## Start here
Church preventive maintenance schedule
A free template from WiseHQ, to go with the article "A preventive maintenance schedule for a church building".
getwisehq.com/church/blog/church-preventive-maintenance-schedule
How to use it
1. On the Schedule tab, the cream columns are yours to fill in: Who, Last done and Notes. We've suggested who usually does each job; replace it with a name.
2. When a task is done, type the date in Last done. Next due and Status fill in by themselves.
3. To change how often a task comes due, pick a different choice in How often. "Every few years" and "As dated" don't work out a date for you, so type the date into Next due yourself.
4. Delete the rows that don't fit your building (no generator, no organ), and add your own in the empty rows at the bottom. Their formulas are already in place.
5. Status shows Overdue once a date has passed, and Due soon in the two weeks before.
An example row
Task | How often | Who | Last done | Next due | Status
Check the HVAC filters and change any that look dirty | Every month | Sam (volunteer) | 2026-10-06 | 2026-11-06 | Due soon
Sam checked the filters on October 6, so the next check is due a month later. Every date you type works the same way.
Where the intervals come from
HVAC filters and service: ENERGY STAR maintenance checklist
Generator: NFPA 110, summarized by the Minnesota Department of Health
AED: a sample monthly checklist (follow your AED maker's instructions)
Playground: CPSC Public Playground Safety Handbook
Roof: National Roofing Contractors Association, spring and fall inspections
Pipe organ tuning
Water heater flushing: Energy Trust of Oregon
Carpet care: ISSA, the cleaning industry association
Smoke and carbon monoxide alarms: Minnesota State Fire Marshal
Ice machines: ACHR News, on what the makers recommend
Inspections (fire alarm, sprinklers, extinguishers, backflow, the kitchen hood, boilers, elevators): WiseHQ's church building inspection checklist
Kitchen hood fire suppression, the owner's monthly check: Pagosa Fire Protection District, from NFPA 17A
Fire alarm checks every six months: Minnesota Department of Health, from NFPA 72
Fire doors, inspected every year under NFPA 80: NFPA
The floor and carpet intervals come from Tom Moore's years as a school facility director and as the co-founder of a commercial cleaning company.
This is a starting point, not a replacement for your equipment makers' instructions, your insurance company's requirements or your local fire code.
Rather have the reminders come to you? WiseHQ turns this schedule into work orders for the right person before each due date: getwisehq.com/church
Formulas:
Status = IF([Next due]="","",IF([Next due]<TODAY(),"Overdue",IF([Next due]-TODAY()<=14,"Due soon","OK")))

## Schedule
Church preventive maintenance schedule
Fill in the cream columns. Next due and Status fill in by themselves. The Start here tab explains the rest.
Area | Task | How often | Best time | Who | Last done | Next due | Status | Why it matters | Notes
Floors | Scrub the vinyl tile floors at the entrances and in the halls, fellowship hall and kitchen | Every week | All year; more often in wet or snowy weather | Your custodian or cleaning company |  |  |  | Grit tracked in from outside wears down the floor finish.
Floors | Buff the vinyl tile floors, once or twice a week | Every week | All year | Your custodian or cleaning company |  |  |  | Buffing keeps the finish hard and glossy, so it lasts until the yearly strip and wax.
Carpet | Vacuum the carpet. Do the entrances and busy walkways every day the building is used | Every week | All year | Your custodian, cleaning company or volunteers |  |  |  | Dirt you can't see grinds down carpet fibers (ISSA).
Restrooms | Check the restrooms: running toilets, dripping faucets, empty dispensers, stall doors that squeak or won't latch | Every week | All year | Whoever cleans them |  |  |  | Small problems found every week stay small.
HVAC | Check the HVAC filters and change any that look dirty | Every month | Same week each month | You or a volunteer |  |  |  | A clogged filter makes the system work harder and wears it out early. ENERGY STAR says to check every month and change at least every three months.
Building | Walk the whole building: ceiling stains, drips under sinks, burned-out lights, doors that won't latch | Every month | Same week each month | You |  |  |  | Problems are cheaper this week than next month.
Plumbing | Run the water in rooms nobody used: sinks and floor drains, and flush unused toilets | Every month | Same week each month | You or a volunteer |  |  |  | A drain that sits unused lets its trap dry out, and sewer gas comes up into the room. A minute of water keeps it sealed.
Safety | Test the emergency lights and look over the fire extinguishers | Every month | Same week each month | You |  |  |  | Both are monthly checks under the fire code.
Safety | Look at the sprinkler valves and gauges, if you have sprinklers | Every month | Same week each month | You |  |  |  | A valve left shut or a gauge reading low can keep the sprinklers from working. If anything looks off, call your sprinkler company. The quarterly and yearly checks are in WiseHQ's church building inspection checklist.
Kitchen | Look over the kitchen hood's fire suppression system: pull handle clear, seals and service tag in place, gauge in the green | Every month | Same week each month | You or your kitchen volunteers |  |  |  | It's the owner's monthly check under NFPA 17A, the standard for these systems, between the company's six-month visits. The Pagosa Fire Protection District's checklist lists everything to look at.
Safety | Test the smoke and carbon monoxide alarms that aren't part of a fire alarm system | Every month | Same week each month | You |  |  |  | The Minnesota State Fire Marshal says to test both every month and change their batteries once a year. Replace smoke alarms every 10 years, CO alarms every five to seven.
Safety | Check the AED: the ready light is on, and the pads and battery are within their dates | Every month | Same week each month | You |  |  |  | Follow your AED maker's instructions.
Safety | Run the generator under load for about 30 minutes, if you have one | Every month | Same week each month | You or your generator company |  |  |  | A standby generator should run under load every month, under the NFPA 110 standard.
Grounds | Look over the playground, if you have a preschool: loose hardware, worn surfacing, sharp edges | Every month | Same week each month | Your preschool director or you |  |  |  | The CPSC's Public Playground Safety Handbook has an inspection checklist.
HVAC | Change any HVAC filter that hasn't been changed yet | Every 3 months | January, April, July, October | You or a volunteer |  |  |  | That's the three-month limit, even if a filter still looks clean (ENERGY STAR).
Carpet | Deep clean the carpet traffic lanes by each entrance | Every 3 months | January, April, July, October | Your cleaning company |  |  |  | Dirt breaks down carpet fibers when too much time passes between deep cleanings, and the lanes by the doors get the most of it.
Building | Check door closers, locks and panic bars | Every 3 months | January, April, July, October | You |  |  |  | A door that doesn't close and latch is a security problem, and on a fire door it's a code problem.
Plumbing | Test the sump pumps and look at the floor drains | Every 3 months | January, April, July, October | You |  |  |  | Better to find a dead pump before a heavy rain than during one.
Kitchen | Clean the kitchen hood filters | Every 3 months | January, April, July, October | Your kitchen volunteers |  |  |  | Grease builds up even in a kitchen that mostly does potlucks. Clean them more often if your kitchen is busy.
Building | Have the building treated for pests | Every 3 months | January, April, July, October | A pest control company |  |  |  | Most commercial pest control is quarterly. A busy kitchen or a preschool may need it monthly.
Safety | Check and restock the first aid kits | Every 3 months | January, April, July, October | You or a volunteer |  |  |  | Replace what's been used or has expired, especially in the nursery, the kitchen and the preschool.
HVAC | Have the HVAC serviced: cooling in spring, heating in fall | Twice a year | Spring (before Easter) and fall (before the kickoff) | Your HVAC contractor |  |  |  | Contractors are busiest in summer and winter, which is why ENERGY STAR suggests spring and fall.
Roof | Inspect the roof, and clean the gutters and roof drains. Look again after any big storm | Twice a year | Spring, and fall once the leaves are down | A roofer for the roof; you or a volunteer for gutters you can reach safely |  |  |  | The National Roofing Contractors Association recommends a look every spring and fall.
Kitchen | Service the kitchen hood fire suppression system | Twice a year | Every six months, by the date on its tag | A kitchen fire suppression company |  |  |  | It's due every six months under the fire code.
Safety | Look over the fire alarm: the panel, pull stations, detectors and horns. Have its backup batteries tested | Twice a year | Six months after the yearly test | You, and your fire alarm company for the batteries |  |  |  | Between yearly tests, NFPA 72 calls for a look at the parts and a test of the batteries that run the system in a power outage, every six months (Minnesota Department of Health).
Sanctuary | Tune the pipe organ | Twice a year | Before Easter and before Christmas | Your organ technician |  |  |  | Organs drift with the seasons, so many churches have them tuned twice a year.
Building | Reset the thermostat schedules, light timers and clocks when the clocks change | Twice a year | March and November | You |  |  |  | Daylight saving time throws off every schedule in the building. It's an easy day to remember the yearly alarm battery change, too.
Kitchen | Clean and sanitize the ice machine, if you have one | Twice a year | Every six months, or as its manual says | Your kitchen volunteers or a refrigeration company |  |  |  | Scale and mold build up inside, and most makers say to clean it at least every six months.
Floors | Strip and wax the vinyl tile floors | Once a year | Summer | Your cleaning company |  |  |  | The worn, dirty finish comes off and fresh coats go on.
Carpet | Deep clean all the carpet | Once a year | Summer | Your cleaning company |  |  |  | The traffic lanes get theirs every three months, and the rest of the carpet usually needs it about once a year.
Restrooms | Grease the restroom stall door hinges with clear lithium grease | Once a year | Summer | You or a volunteer |  |  |  | It keeps them quiet. It's the easiest complaint you'll ever prevent.
Plumbing | Flush the water heater | Once a year | Any quiet week | You or a plumber |  |  |  | Sediment settles in the tank and shortens its life, so most plumbers recommend flushing it at least once a year.
Building | Look over the outside of the building: caulking, paint, brick, window seals, sidewalks that have settled | Once a year | Spring, once winter is over | You |  |  |  | Winter does its damage quietly. Spring is when you can see it.
Grounds | Trim trees and bushes back from the roof, gutters, walks and lights | Once a year | Late winter | You, volunteers or a tree service |  |  |  | Branches wear the roof and fill the gutters, and overgrown bushes hide trip hazards and dark corners.
Grounds | Seal the cracks in the parking lot | Once a year | Summer | A paving company |  |  |  | Water in a crack turns it into a pothole after a freeze.
Security | Account for every key, fob and door code | Once a year | Early in the year | You |  |  |  | Keys handed out over the years add up. Collect the ones that should come back, and change the codes when people leave.
Safety | Book the yearly inspections: fire alarm, sprinklers, extinguisher service, the 90-minute emergency light test, backflow testing, the kitchen hood's grease inspection | Once a year | Early in the year | Licensed contractors |  |  |  | See WiseHQ's church building inspection checklist for each one.
Safety | Inspect the fire doors: the labels, any damage, the gaps around each door, and that it closes and latches on its own | Once a year | Early in the year | You or a door company |  |  |  | NFPA 80, the national standard for fire doors, calls for a yearly inspection. Fire doors have a rating label on the hinge edge; start with the stairwells and the boiler room.
Planning | Review the big replacements: roof, rooftop units, boiler, water heaters. Note when each was installed and how long it should last | Once a year | Before next year's budget is set | You and your finance team |  |  |  | So a replacement shows up as a line in the budget instead of an emergency.
Grounds | Seal coat the parking lot | Every few years | Summer | A paving company |  |  |  | Set the interval your paving company recommends.
Building | Repaint the busiest halls and classrooms | Every few years | Summer, or January and February | You, volunteers or a painter |  |  |  | Fresh paint is cheaper than the wall repairs that follow worn paint.
Safety | Replace the AED pads and battery | As dated | By the dates printed on them | You |  |  |  | Type the dates printed on the pads and battery into Next due.
Building | Have the boiler and elevator inspected before their certificates run out, if you have them | As dated | By the date on each certificate | A state, city or insurance inspector |  |  |  | Your state sets how often. Type the date on each certificate into Next due, and see WiseHQ's church building inspection checklist.
Formulas:
Status = IF([Next due]="","",IF([Next due]<TODAY(),"Overdue",IF([Next due]-TODAY()<=14,"Due soon","OK")))

## Church year
Time it around the church year
The schedule works better when it follows the rhythm of the church calendar.
When | What to schedule | Why then
January and February | The inside projects: painting, small repairs and whatever you noted on your walk-throughs | Christmas is over and the building is quiet
Before Easter | The spring HVAC service, the roof and gutters, the parking lot after winter, and an organ tuning | Easter brings the biggest crowd of the spring
Summer | The big jobs: stripping and waxing the floors, cleaning the carpets, painting, roof repairs and parking lot work | School and preschool are out, and the building is at its emptiest
Before the fall kickoff | The heating service, a test run before the first cold Sunday, the gutters once the leaves are down, and winterizing | The building fills back up, and the cold comes soon after
Before Christmas | An organ tuning, the lights inside and out, and a plan for snow and ice | Christmas Eve may be the fullest the building gets all year

## Lists
How often | Days | Months | The choices in the How often column. Add a row here to add your own: fill in Days or Months, not both. Leave both blank for no date.
Every week | 7
Every month |  | 1
Every 3 months |  | 3
Twice a year |  | 6
Once a year |  | 12
Every 2 years |  | 24
Every 3 years |  | 36
Every 5 years |  | 60
Every few years
As dated